SOP-02 — Major Storm / Widespread Outage

Severe weather or a large event causing many simultaneous outages across one or more regions.

| SOP # | SOP-02 | Applies to | Storm Incident Command, regional operations leads, logistics, communications |
| --- | --- | --- | --- |
| Owner | Outage Operations | Review | Annual |

1. When this SOP applies

- Widespread outages from severe weather, with many simultaneous events.

- Threshold guide: more than ~10,000 customers out, or more than ~25 concurrent events, or a region declares a storm event.

2. Immediate actions

- Activate the Storm Center and stand up Incident Command.

- Classify the storm level and assign an Incident Commander.

- Begin damage assessment and request mutual assistance early if capacity will be exceeded.

- Switch restoration to priority tiers (see Procedure).

3. Roles

- Incident Commander: Owns the event; approves tier changes and mutual-assistance requests.

- Regional Ops Leads: Direct crews within Contoso North/South/East/Central/West; report each cycle.

- Logistics: Staging, materials, lodging, and incoming mutual-assistance crews.

- Communications Lead: Customer, media, and regulator updates.

4. Procedure

- Run damage assessment to size the event and set regional ERTs.

- Restore in priority order: (1) life-safety hazards, (2) critical infrastructure (hospitals, water, comms), (3) high-density transmission/substation work, (4) remaining distribution.

- Stage crews and materials at regional yards; assign mutual-assistance crews.

- Hold twice-daily briefings (morning/evening) using the outage data.

- Track restoration progress and update public ERTs by region.

5. Safety

- No single crew works downed-line hazards alone — coordinate with public safety per SOP-03.

- Manage crew fatigue and rotation during extended events.

6. Communications

- Issue regular public updates and regional ERTs.

- Coordinate regulator notifications through the Communications Lead.

7. Restoration & closeout

- Demobilize crews and release mutual assistance.

- Capture lessons learned and final restoration metrics.

8. Escalation thresholds

- Declare a higher emergency level if outages or duration exceed plan; notify corporate leadership and emergency management.

- For any downed-line hazard within the storm, SOP-03 takes priority at that location.

- For critical-care customers, apply SOP-05 ahead of general restoration.