SOP-05 — Critical-Care / Life-Support Customer Outage

An outage affecting customers on the medical/life-support registry, or critical facilities such as hospitals, dialysis centers, or water treatment.

| SOP # | SOP-05 | Applies to | Dispatchers, customer care, regional operations |
| --- | --- | --- | --- |
| Owner | Outage Operations | Review | Annual |

1. When this SOP applies

- Affected meters match the critical-care / life-support registry.

- Outage involves a hospital, dialysis center, water/wastewater plant, or similar critical facility.

2. Immediate actions

- Flag the event as PRIORITY in the OMS and verify against the critical-customer registry.

- Expedite a crew ahead of general restoration (priority Tier 2).

- Proactively phone the customer/facility; confirm their backup-power status.

- Advise life-support customers to activate backup plans or seek alternate care if needed.

3. Roles

- Dispatcher: Prioritizes the crew and tracks the critical customer to restoration.

- Customer Care: Maintains direct contact with the facility/customer.

4. Procedure

- Confirm the critical customer's identity and location against the registry.

- Prioritize restoration of the feeding circuit/equipment.

- Verify the facility's backup generation is carrying load while you work.

- Restore and confirm directly with the customer that power is back.

- Record the critical-customer impact and contact log.

5. Safety

- Standard restoration safety applies; do not bypass safety for speed.

6. Communications

- Maintain direct, proactive contact until power is restored.

- Coordinate with emergency management for large facilities if outage is extended.

7. Restoration & closeout

- Confirm restoration directly with the facility.

- Update the registry contact log and any backup-power findings.

8. Escalation thresholds

- Extended outage to a hospital or large facility: notify emergency management and senior leadership.

- If part of a wider event, ensure this customer stays ahead of general restoration under SOP-02 tiers.