SOP-06 — Planned Outage & Switching (Maintenance)

A pre-scheduled outage to perform maintenance or construction safely.

| SOP # | SOP-06 | Applies to | System operators, switching crews, planners, customer care |
| --- | --- | --- | --- |
| Owner | Outage Operations | Review | Annual |

1. When this SOP applies

- Approved maintenance/construction work requiring de-energization.

- A switching order has been prepared and authorized.

2. Immediate actions

- Verify an approved, reviewed switching order is in place.

- Confirm customer notifications were sent in advance (and critical-care customers individually).

- Confirm crews, materials, and weather window before starting.

- Brief the switching crew on the sequence and clearance points.

3. Roles

- Planner: Prepares notifications and the work plan.

- System Operator: Issues and tracks the switching order.

- Switching Crew: Executes switching and clearances under authorization.

4. Procedure

- Execute the switching order step by step; verify each device position.

- Apply lockout/tagout and confirm the section is de-energized and grounded.

- Release the clearance to the work crew and perform the maintenance.

- On completion, remove grounds/LOTO and restore per the switching order.

- Confirm all customers restored and close the work order.

5. Safety

- No live work without explicit authorization.

- Confirm de-energized and grounded before work begins; test before touch.

6. Communications

- Remind affected customers of the planned window; confirm critical-care arrangements.

- Notify if the window changes.

7. Restoration & closeout

- Verify restoration and update the work order.

- Capture any switching anomalies for review.

8. Escalation thresholds

- If work overruns the planned window, notify affected customers and the supervisor; consider restoring and rescheduling.

- If an unexpected fault is found, transition to the relevant emergency SOP (e.g., SOP-04).